## Boreholes
Source ID | water_source_type | source_name | inspecting_agency | inspection_date | region | district | nearest_settlement_name | distance_to_settlement | Funding agency | date_source_established | establishing_agency | 1121 | Latitude | Longitude | Attitude | permanent | sesonal | functioning | reason_for_non_functioning | Abandoned | Reason for abandoned | number_of_human_using_source | IDPs_using | number_of_camel_using_source | number_of_cattle_using_source | number_of_shoats_using_source | number_of_hectares_irrigated_using_source | source_protected | bh_depth | casing_type | casing_size | bh_operating_yield | bh_operating_hrs_per_day | bh_operating_draw_down | bh_recovery_time | dw_depth | dw_yield | dw_operating_hours | dw_draw_down | recovery_time | other_source_yield | reservoir_type | reservoir_capacity | pipeline_type | Rising Pipe_Type | Rising_Pipe_depth | pipeline_length | number_of_hh_connections | number_of_water_points_kiosks | number_of_animal_troughs | Number_of_Sanitation Structures | source_used_for_water_trucking | number_of_trucks_per_day | average_truck_capacity | pump_type | pump_model | pump_capacity | pump_level | source_of_power | generator_type | generator_capacity | solar_type | solar_capacity | supply_system_condition | supply_system_condition_description | physical_water_quality_issues | color_odor_description | temperature | ph | wsc_date_of_establishment | last_intervention_agency | last_intervention_description | last_intervention_date | Source_field Area
1 | Borehole | BH Xaraf 1 | NRC | 05/12/2023 | Maroodi Jeex | Hargeysa | Kalabaydh | 6.0 km | ADO | 03/10/2011 | UNICEF | Al-Barakat Drilling | 10.2634 | 43.1592 | 607 | No | Yes | Yes |  | No |  | 5523 | 1436 | 558 | 859 | 902 | 114 | No | 105 | Steel | 6 inch | 17 m3/hr | 14 | 25 | 3 hrs | 33 | 6 m3/hr | 5 | 9 | 2 hrs | 10 m3/hr | Elevated steel tank | 20 m3 | None | HDPE | 55 | 1273 m | 110 | 12 | 5 | 1 | Yes | 12 | 5 m3 | Solar pump | Afridev | 21 l/s | 87 | Solar | None | 15 kVA | Polycrystalline | 3 kW | Poor | Sample assessment note (example data) | Bacterial contamination | Salty taste | 33 C | 6.9 | 03/01/2020 | NRC | Maintenance / rehabilitation (example) | 25/05/2023 | 15 ha
2 | Borehole | BH Xaraf 2 | CONCERN Worldwide | 23/06/2023 | Woqooyi Galbeed | Berbera | Kalabaydh | 4.1 km | Havoyoco | 05/05/2007 | NRC | Guled Drilling | 10.8675 | 45.5706 | 1395 | Yes | No | Yes |  | No |  | 3471 | 741 | 224 | 283 | 2087 | 126 | Yes | 121 | GI | 8 inch | 3 m3/hr | 13 | 22 | 8 hrs | 11 | 2 m3/hr | 7 | 10 | 4 hrs | 1 m3/hr | Elevated steel tank | 10 m3 | GI | PVC | 40 | 3458 m | 305 | 1 | 6 | 6 | No | 8 | 5 m3 | Submersible | Pedrollo | 10 l/s | 107 | Solar | Lister | 50 kVA | Monocrystalline | 15 kW | Good | Sample assessment note (example data) | Turbidity | Slightly turbid | 32 C | 8.3 | 28/11/2014 | ADO | Maintenance / rehabilitation (example) | 20/04/2023 | 24 ha
3 | Borehole | BH Dhabarmamac 3 | World Vision | 15/09/2024 | Sool | Xudun | Dararweyne | 2.1 km | Ministry of Water | 11/01/2014 | ADO | Somaliland Water Co. | 9.1775 | 46.7866 | 668 | No | Yes | Yes |  | No |  | 752 | 64 | 338 | 145 | 2105 | 60 | No | 286 | GI | 4 inch | 4 m3/hr | 14 | 36 | 1 hrs | 15 | 4 m3/hr | 4 | 14 | 8 hrs | 8 m3/hr | Concrete reservoir | 20 m3 | GI | PVC | 93 | 4720 m | 242 | 3 | 7 | 6 | Yes | 3 | 5 m3 | Diesel pump | Afridev | 15 l/s | 125 | Manual | Perkins | 15 kVA | Monocrystalline | 15 kW | Poor | Sample assessment note (example data) | None | Slightly turbid | 27 C | 6.9 | 15/03/2016 | CARE Somalia | Maintenance / rehabilitation (example) | 09/08/2023 | 5 ha
4 | Borehole | BH Ceel Afweyn 4 | ADO | 02/12/2024 | Awdal | Baki | Beer | 0.6 km | Havoyoco | 17/09/2007 | UNICEF | Barwaaqo Eng. | 10.4876 | 47.0513 | 681 | Yes | No | Yes |  | No |  | 3507 | 245 | 583 | 504 | 2371 | 10 | Yes | 289 | GI | 6 inch | 24 m3/hr | 5 | 10 | 5 hrs | 17 | 2 m3/hr | 10 | 5 | 5 hrs | 5 m3/hr | Concrete reservoir | 200 m3 | PVC | HDPE | 46 | 2573 m | 122 | 4 | 6 | 2 | No | 14 | 10 m3 | Submersible | Grundfos SP | 16 l/s | 45 | Solar | Cummins | 30 kVA | Monocrystalline | 10 kW | Good | Sample assessment note (example data) | High salinity | Salty taste | 28 C | 6.8 | 27/09/2021 | Save the Children | Maintenance / rehabilitation (example) | 20/11/2025 | 1 ha
5 | Borehole | BH Ceel Bardaale 5 | Havoyoco | 18/12/2024 | Togdheer | Burao | Aroori | 0.3 km | Ministry of Water | 23/03/2013 | UNICEF | Horn Construction | 10.0745 | 43.251 | 946 | No | Yes | Yes |  | No |  | 526 | 732 | 215 | 511 | 2731 | 26 | No | 182 | GI | 8 inch | 13 m3/hr | 4 | 9 | 5 hrs | 21 | 10 m3/hr | 6 | 2 | 2 hrs | 10 m3/hr | Concrete reservoir | 100 m3 | GI | GI | 40 | 1450 m | 211 | 0 | 2 | 5 | No | 7 | 10 m3 | Hand pump | Grundfos SP | 14 l/s | 29 | Manual | Cummins | 20 kVA | Polycrystalline | 10 kW | Poor | Sample assessment note (example data) | High salinity | Slightly turbid | 24 C | 7.8 | 13/06/2014 | Ministry of Water | Maintenance / rehabilitation (example) | 25/05/2024 | 42 ha
6 | Borehole | BH Kalabaydh 6 | Ministry of Water | 24/05/2025 | Sanaag | Erigavo | Godka | 5.4 km | World Vision | 13/12/2009 | ADO | Somaliland Water Co. | 11.3509 | 47.0639 | 556 | No | Yes | No | Vandalism | Yes | Displacement of community | 3526 | 1122 | 0 | 622 | 1175 | 53 | No | 256 | PVC | 4 inch | 27 m3/hr | 10 | 16 | 3 hrs | 54 | 9 m3/hr | 9 | 2 | 4 hrs | 15 m3/hr | Plastic tank | 50 m3 | None | HDPE | 106 | 1750 m | 261 | 7 | 2 | 10 | Yes | 9 | 10 m3 | Submersible | Lorentz PS2 | 23 l/s | 99 | Diesel generator | Cummins | 20 kVA | Monocrystalline | 3 kW | Fair | Sample assessment note (example data) | High fluoride | Clear, odourless | 31 C | 7.3 | 21/10/2013 | SWALIM | Maintenance / rehabilitation (example) | 16/07/2023 | 10 ha
7 | Borehole | BH Kalabaydh 7 | NRC | 09/08/2023 | Togdheer | Burao | Agabar | 2.4 km | Save the Children | 11/06/2019 | ADO | Al-Barakat Drilling | 9.9576 | 43.9168 | 638 | No | Yes | No | Pump breakdown | No |  | 3598 | 834 | 338 | 1111 | 1908 | 106 | Yes | 180 | GI | 8 inch | 24 m3/hr | 4 | 7 | 11 hrs | 37 | 3 m3/hr | 9 | 6 | 1 hrs | 5 m3/hr | Ground masonry tank | 50 m3 | None | PVC | 109 | 160 m | 391 | 9 | 6 | 7 | Yes | 11 | 10 m3 | Diesel pump | India Mark II | 19 l/s | 76 | Manual | Cummins | 30 kVA | Polycrystalline | 15 kW | Good | Sample assessment note (example data) | High fluoride | Salty taste | 34 C | 7.9 | 13/12/2012 | Havoyoco | Maintenance / rehabilitation (example) | 05/10/2025 | 2 ha
8 | Borehole | BH Beer 8 | NRC | 07/01/2025 | Awdal | Zeila | Ceel Bardaale | 2.1 km | Havoyoco | 22/02/2014 | NRC | Daryeel Contractors | 9.4195 | 46.6435 | 434 | Yes | No | Yes |  | No |  | 1541 | 637 | 110 | 1185 | 105 | 79 | No | 291 | GI | 8 inch | 11 m3/hr | 9 | 17 | 2 hrs | 27 | 8 m3/hr | 5 | 15 | 7 hrs | 6 m3/hr | Concrete reservoir | 200 m3 | GI | GI | 95 | 1989 m | 52 | 11 | 4 | 10 | Yes | 1 | 10 m3 | Diesel pump | Afridev | 4 l/s | 149 | Hybrid solar-diesel | Perkins | 50 kVA | Polycrystalline | 3 kW | Needs repair | Sample assessment note (example data) | Turbidity | No issues | 26 C | 7.4 | 24/09/2020 | Save the Children | Maintenance / rehabilitation (example) | 20/09/2024 | 30 ha
9 | Borehole | BH Qoyta 9 | ADO | 25/04/2025 | Awdal | Borama | Qoyta | 5.2 km | Havoyoco | 15/01/2006 | Save the Children | Somaliland Water Co. | 9.7655 | 46.4893 | 1169 | No | Yes | Yes |  | No |  | 4734 | 1087 | 352 | 871 | 3055 | 140 | No | 106 | PVC | 8 inch | 12 m3/hr | 11 | 32 | 8 hrs | 31 | 3 m3/hr | 2 | 9 | 8 hrs | 2 m3/hr | Plastic tank | 200 m3 | None | HDPE | 59 | 2059 m | 118 | 1 | 3 | 5 | Yes | 5 | 8 m3 | Hand pump | India Mark II | 10 l/s | 92 | Solar | Cummins | 30 kVA | Monocrystalline | 10 kW | Fair | Sample assessment note (example data) | Turbidity | Clear, odourless | 32 C | 6.8 | 02/01/2018 | Save the Children | Maintenance / rehabilitation (example) | 23/03/2025 | 49 ha
10 | Borehole | BH Qoyta 10 | Havoyoco | 10/10/2024 | Sool | Xudun | Godka | 4.6 km | UNICEF | 20/12/2006 | NRC | Guled Drilling | 9.203 | 44.4392 | 1330 | No | Yes | Yes |  | No |  | 814 | 320 | 2 | 836 | 1845 | 120 | No | 90 | Steel | 8 inch | 13 m3/hr | 13 | 18 | 1 hrs | 15 | 4 m3/hr | 12 | 19 | 1 hrs | 13 m3/hr | Elevated steel tank | 20 m3 | PVC | PVC | 56 | 3719 m | 36 | 10 | 3 | 4 | Yes | 13 | 5 m3 | Hand pump | Lorentz PS2 | 10 l/s | 56 | Solar | Perkins | 20 kVA | Polycrystalline | 20 kW | Poor | Sample assessment note (example data) | High fluoride | Clear, odourless | 31 C | 7.9 | 23/07/2014 | ADO | Maintenance / rehabilitation (example) | 18/08/2024 | 6 ha
11 | Borehole | BH Kalabaydh 11 | Ministry of Water | 28/03/2024 | Sanaag | Las Qoray | Dhabarmamac | 5.6 km | Save the Children | 22/07/2018 | ADO | Al-Barakat Drilling | 9.631 | 43.6955 | 1027 | No | Yes | Yes |  | No |  | 4415 | 2 | 673 | 1111 | 1892 | 105 | Yes | 210 | GI | 6 inch | 16 m3/hr | 17 | 32 | 8 hrs | 25 | 8 m3/hr | 10 | 5 | 7 hrs | 4 m3/hr | Ground masonry tank | 100 m3 | PVC | PVC | 116 | 4083 m | 320 | 7 | 0 | 3 | No | 4 | 10 m3 | Diesel pump | India Mark II | 5 l/s | 27 | Grid | Cummins | 20 kVA | Polycrystalline | 20 kW | Good | Sample assessment note (example data) | Bacterial contamination | No issues | 25 C | 6.9 | 27/02/2017 | Ministry of Water | Maintenance / rehabilitation (example) | 21/03/2024 | 46 ha
12 | Borehole | BH Aroori 12 | ADO | 13/08/2024 | Sanaag | Badhan | Xaraf | 7.9 km | NRC | 19/07/2008 | SWALIM | Al-Barakat Drilling | 10.7631 | 47.8685 | 990 | No | Yes | Yes |  | No |  | 5636 | 1335 | 155 | 1014 | 3951 | 9 | Yes | 105 | Steel | 4 inch | 25 m3/hr | 8 | 3 | 1 hrs | 30 | 1 m3/hr | 6 | 12 | 6 hrs | 7 m3/hr | Plastic tank | 10 m3 | None | GI | 87 | 3743 m | 7 | 11 | 2 | 6 | Yes | 2 | 12 m3 | Solar pump | Afridev | 21 l/s | 121 | Solar | Lister | 50 kVA | Polycrystalline | 15 kW | Good | Sample assessment note (example data) | Bacterial contamination | Clear, odourless | 27 C | 7.8 | 10/04/2021 | Ministry of Water | Maintenance / rehabilitation (example) | 14/02/2025 | 46 ha
13 | Borehole | BH Kalabaydh 13 | UNICEF | 26/08/2024 | Sanaag | Badhan | Kalabaydh | 4.5 km | Ministry of Water | 15/06/2014 | Save the Children | Guled Drilling | 10.1421 | 44.8127 | 987 | No | Yes | Yes |  | No |  | 4158 | 218 | 242 | 781 | 2342 | 91 | No | 113 | GI | 6 inch | 19 m3/hr | 12 | 19 | 3 hrs | 26 | 8 m3/hr | 6 | 11 | 2 hrs | 8 m3/hr | Plastic tank | 10 m3 | None | HDPE | 21 | 4636 m | 351 | 12 | 0 | 9 | No | 9 | 8 m3 | Solar pump | Lorentz PS2 | 22 l/s | 68 | Grid | Lister | 20 kVA | None | 3 kW | Good | Sample assessment note (example data) | Turbidity | No issues | 24 C | 7.7 | 24/03/2011 | Save the Children | Maintenance / rehabilitation (example) | 11/12/2024 | 12 ha
14 | Borehole | BH Kalabaydh 14 | NRC | 16/01/2025 | Sool | Taleh | Aroori | 2.8 km | CONCERN Worldwide | 08/11/2006 | Havoyoco | Guled Drilling | 9.2917 | 43.2721 | 276 | Yes | No | No | Dry well | Yes | Better source nearby | 1151 | 199 | 240 | 1100 | 555 | 99 | No | 281 | Steel | 4 inch | 7 m3/hr | 16 | 38 | 4 hrs | 14 | 9 m3/hr | 5 | 19 | 4 hrs | 14 m3/hr | Plastic tank | 200 m3 | None | PVC | 115 | 1265 m | 212 | 10 | 1 | 7 | No | 8 | 5 m3 | Solar pump | Lorentz PS2 | 16 l/s | 133 | Diesel generator | Lister | 15 kVA | None | 10 kW | Poor | Sample assessment note (example data) | None | No issues | 28 C | 6.9 | 04/08/2011 | NRC | Maintenance / rehabilitation (example) | 21/11/2025 | 2 ha
15 | Borehole | BH Godka 15 | UNICEF | 05/12/2024 | Awdal | Zeila | Aroori | 1.1 km | Ministry of Water | 16/08/2017 | World Vision | Barwaaqo Eng. | 10.2596 | 48.6725 | 288 | Yes | No | Yes |  | No |  | 5597 | 1067 | 308 | 938 | 2635 | 7 | Yes | 291 | Steel | 6 inch | 16 m3/hr | 15 | 8 | 6 hrs | 37 | 6 m3/hr | 12 | 9 | 6 hrs | 3 m3/hr | Concrete reservoir | 50 m3 | None | PVC | 33 | 4016 m | 364 | 7 | 1 | 1 | No | 4 | 5 m3 | Hand pump | Afridev | 21 l/s | 103 | Manual | Lister | 50 kVA | None | 20 kW | Needs repair | Sample assessment note (example data) | None | Clear, odourless | 34 C | 7.8 | 25/09/2021 | NRC | Maintenance / rehabilitation (example) | 14/08/2023 | 27 ha

## Dams
Source ID | water_source_type | source_name | inspecting_agency | inspection_date | region | district | nearest_settlement_name | distance_to_settlement | Funding agency | date_source_established | establishing_agency | Constructed_contractor | Latitude | Longitude | Attitude | permanent | sesonal | functioning | reason_for_non_functioning | Abandoned | Reason for abandoned | number_of_human_using_source | IDPs_using | number_of_camel_using_source | number_of_cattle_using_source | number_of_shoats_using_source | number_of_hectares_irrigated_using_source | source_protected | Dam_wedth | Dam_Lenght | Dam Depth | Slope_h/v | reservoir_type | reservoir_capacity | pipeline_type | pipeline_length | number_of_hh_connections | number_of_water_points_kiosks | number_of_animal_troughs | Number_of_Sanitation Structures | source_used_for_water_trucking | number_of_trucks_per_day | average_truck_capacity | pump_type | pump_model | pump_capacity | pump_level | source_of_power | generator_type | generator_capacity | solar_type | solar_capacity | supply_system_condition | supply_system_condition_description | physical_water_quality_issues | color_odor_description | temperature | ph | wsc_date_of_establishment | last_intervention_agency | last_intervention_description | last_intervention_date | Source_field Area | Dam_Catchment Area
1 | Dam | Dam Agabar 1 | UNICEF | 10/10/2024 | Sanaag | Las Qoray | Ina Guuxaa | 1.0 km | ADO | 07/03/2015 | Havoyoco | Al-Barakat Drilling | 9.9189 | 47.5756 | 1375 | No | Yes | No | No fuel | Yes | Better source nearby | 4795 | 1273 | 628 | 1140 | 107 | 68 | Yes | 190 m | 365 m | 2 m | 2:1 | Ground masonry tank | 30 m3 | PVC | 50 m | 92 | 2 | 6 | 1 | Yes | 0 | 5 m3 | Hand pump | India Mark II | 15 l/s | 136 | Hybrid solar-diesel | Cummins | 30 kVA | Polycrystalline | 10 kW | Good | Sample assessment note (example data) | None | Slightly turbid | 26 C | 8 | 02/11/2011 | Save the Children | Maintenance / rehabilitation (example) | 15/11/2024 | 32 ha | 78 ha
2 | Dam | Dam Dhabarmamac 2 | ADO | 23/04/2025 | Sanaag | Badhan | Aroori | 6.7 km | World Vision | 03/07/2018 | UNICEF | Al-Barakat Drilling | 11.1553 | 46.4545 | 1374 | Yes | No | Yes |  | No |  | 3513 | 1453 | 655 | 855 | 1185 | 29 | No | 180 m | 373 m | 4 m | 3:1 | Elevated steel tank | 30 m3 | GI | 2964 m | 45 | 6 | 1 | 3 | No | 12 | 5 m3 | Diesel pump | Afridev | 25 l/s | 106 | Diesel generator | Lister | 20 kVA | Monocrystalline | 20 kW | Good | Sample assessment note (example data) | Bacterial contamination | Slightly turbid | 29 C | 7.2 | 27/11/2012 | NRC | Maintenance / rehabilitation (example) | 04/03/2024 | 13 ha | 23 ha
3 | Dam | Dam Godka 3 | Ministry of Water | 21/02/2025 | Sanaag | Las Qoray | Ceel Afweyn | 4.2 km | Havoyoco | 19/09/2017 | UNICEF | Barwaaqo Eng. | 9.8038 | 45.8538 | 508 | No | Yes | Yes |  | No |  | 706 | 922 | 105 | 703 | 2925 | 21 | Yes | 191 m | 483 m | 10 m | 3:1 | Elevated steel tank | 20 m3 | None | 4282 m | 312 | 2 | 5 | 5 | No | 12 | 12 m3 | Solar pump | Pedrollo | 3 l/s | 105 | Solar | Lister | 15 kVA | None | 15 kW | Poor | Sample assessment note (example data) | Turbidity | Slightly turbid | 29 C | 6.7 | 22/03/2015 | Save the Children | Maintenance / rehabilitation (example) | 21/12/2025 | 26 ha | 17 ha
4 | Dam | Dam Kalabaydh 4 | World Vision | 25/10/2023 | Togdheer | Burao | Ceel Afweyn | 3.1 km | CARE Somalia | 06/12/2017 | CONCERN Worldwide | Guled Drilling | 10.0272 | 47.0582 | 686 | Yes | No | Yes |  | No |  | 3838 | 1250 | 291 | 919 | 958 | 136 | Yes | 29 m | 343 m | 15 m | 3:1 | Plastic tank | 50 m3 | GI | 4672 m | 225 | 7 | 4 | 6 | No | 5 | 8 m3 | Hand pump | Afridev | 3 l/s | 143 | Hybrid solar-diesel | Perkins | 15 kVA | Polycrystalline | 3 kW | Fair | Sample assessment note (example data) | Turbidity | No issues | 32 C | 6.8 | 14/02/2013 | Havoyoco | Maintenance / rehabilitation (example) | 12/01/2024 | 4 ha | 51 ha
5 | Dam | Dam Xaraf 5 | SWALIM | 21/10/2024 | Togdheer | Burao | Dararweyne | 1.1 km | Havoyoco | 20/09/2005 | ADO | Somaliland Water Co. | 9.7282 | 43.0094 | 922 | Yes | No | Yes |  | No |  | 2170 | 1168 | 426 | 383 | 2721 | 21 | No | 32 m | 389 m | 6 m | 2:1 | Elevated steel tank | 100 m3 | HDPE | 356 m | 325 | 6 | 5 | 4 | Yes | 11 | 5 m3 | Solar pump | Lorentz PS2 | 25 l/s | 46 | Grid | Lister | 20 kVA | Monocrystalline | 10 kW | Poor | Sample assessment note (example data) | High salinity | No issues | 31 C | 7.8 | 26/03/2011 | Havoyoco | Maintenance / rehabilitation (example) | 02/05/2023 | 3 ha | 102 ha
6 | Dam | Dam Dhabarmamac 6 | CONCERN Worldwide | 27/03/2025 | Sool | Taleh | Godka | 2.7 km | Ministry of Water | 11/11/2009 | Save the Children | Barwaaqo Eng. | 9.4166 | 45.6634 | 1115 | Yes | No | No | Pump breakdown | Yes | Displacement of community | 5236 | 890 | 281 | 117 | 307 | 103 | No | 38 m | 512 m | 4 m | 3:1 | Ground masonry tank | 10 m3 | GI | 3589 m | 17 | 2 | 1 | 3 | No | 11 | 12 m3 | Submersible | Pedrollo | 6 l/s | 135 | Hybrid solar-diesel | Lister | 50 kVA | Monocrystalline | 20 kW | Fair | Sample assessment note (example data) | Bacterial contamination | Salty taste | 30 C | 7.1 | 09/04/2011 | UNICEF | Maintenance / rehabilitation (example) | 24/03/2024 | 34 ha | 50 ha
7 | Dam | Dam Ceel Bardaale 7 | NRC | 26/08/2023 | Sool | Las Anod | Ina Guuxaa | 4.5 km | World Vision | 15/09/2007 | CONCERN Worldwide | Al-Barakat Drilling | 11.499 | 47.3132 | 1276 | Yes | No | Yes |  | No |  | 3565 | 838 | 588 | 151 | 513 | 81 | Yes | 167 m | 321 m | 12 m | 2:1 | Concrete reservoir | 50 m3 | PVC | 4516 m | 327 | 9 | 2 | 2 | No | 1 | 5 m3 | Hand pump | Afridev | 7 l/s | 61 | Hybrid solar-diesel | Cummins | 30 kVA | None | 10 kW | Good | Sample assessment note (example data) | Turbidity | Slightly turbid | 34 C | 8.4 | 09/03/2020 | Save the Children | Maintenance / rehabilitation (example) | 20/09/2023 | 33 ha | 83 ha
8 | Dam | Dam Ceel Bardaale 8 | Havoyoco | 14/08/2024 | Togdheer | Odweyne | Xaraf | 2.9 km | CARE Somalia | 11/12/2010 | World Vision | Somaliland Water Co. | 10.4041 | 44.9147 | 1155 | Yes | No | Yes |  | No |  | 1203 | 547 | 460 | 507 | 577 | 24 | Yes | 161 m | 345 m | 3 m | 3:1 | Plastic tank | 50 m3 | None | 2682 m | 295 | 11 | 5 | 3 | Yes | 15 | 12 m3 | Diesel pump | Afridev | 17 l/s | 25 | Solar | None | 50 kVA | Monocrystalline | 5 kW | Poor | Sample assessment note (example data) | None | Clear, odourless | 28 C | 7.5 | 27/11/2020 | Havoyoco | Maintenance / rehabilitation (example) | 10/09/2023 | 7 ha | 56 ha
9 | Dam | Dam Ceel Afweyn 9 | ADO | 13/09/2023 | Sool | Taleh | Beer | 0.5 km | World Vision | 26/08/2013 | Havoyoco | Barwaaqo Eng. | 9.8199 | 46.6784 | 532 | Yes | No | Yes |  | No |  | 3419 | 1262 | 757 | 612 | 2431 | 86 | No | 64 m | 520 m | 10 m | 3:1 | Plastic tank | 50 m3 | HDPE | 897 m | 213 | 9 | 4 | 10 | Yes | 15 | 10 m3 | Hand pump | Grundfos SP | 20 l/s | 142 | Diesel generator | None | 20 kVA | None | 5 kW | Good | Sample assessment note (example data) | Bacterial contamination | Clear, odourless | 27 C | 6.5 | 11/07/2012 | SWALIM | Maintenance / rehabilitation (example) | 23/04/2024 | 33 ha | 100 ha
10 | Dam | Dam Ina Guuxaa 10 | Havoyoco | 12/09/2025 | Togdheer | Buhoodle | Godka | 2.4 km | CONCERN Worldwide | 22/09/2011 | SWALIM | Somaliland Water Co. | 9.7191 | 47.2848 | 909 | No | Yes | Yes |  | No |  | 3823 | 1343 | 262 | 981 | 876 | 51 | No | 94 m | 88 m | 2 m | 3:1 | Plastic tank | 20 m3 | HDPE | 4807 m | 122 | 3 | 0 | 10 | Yes | 7 | 5 m3 | Submersible | India Mark II | 12 l/s | 140 | Solar | Cummins | 15 kVA | None | 5 kW | Needs repair | Sample assessment note (example data) | High fluoride | No issues | 34 C | 6.9 | 10/06/2014 | UNICEF | Maintenance / rehabilitation (example) | 25/02/2025 | 37 ha | 30 ha
11 | Dam | Dam Kalabaydh 11 | Save the Children | 23/03/2023 | Awdal | Borama | Agabar | 2.8 km | Save the Children | 19/11/2017 | NRC | Barwaaqo Eng. | 11.0675 | 46.0917 | 377 | No | Yes | Yes |  | No |  | 3483 | 1370 | 97 | 378 | 575 | 122 | No | 200 m | 420 m | 3 m | 2:1 | Ground masonry tank | 10 m3 | PVC | 3659 m | 385 | 4 | 5 | 4 | Yes | 8 | 10 m3 | Hand pump | Grundfos SP | 23 l/s | 50 | Manual | Lister | 20 kVA | Polycrystalline | 20 kW | Poor | Sample assessment note (example data) | None | Salty taste | 29 C | 7.7 | 08/03/2017 | CARE Somalia | Maintenance / rehabilitation (example) | 15/12/2025 | 24 ha | 54 ha
12 | Dam | Dam Qoyta 12 | CARE Somalia | 17/07/2024 | Sanaag | Erigavo | Ceel Afweyn | 0.7 km | Havoyoco | 22/05/2016 | UNICEF | Horn Construction | 9.5448 | 43.4382 | 1067 | Yes | No | No | Dry well | No |  | 5937 | 130 | 554 | 123 | 3828 | 17 | No | 37 m | 153 m | 11 m | 2:1 | Elevated steel tank | 30 m3 | None | 1109 m | 392 | 10 | 6 | 5 | No | 14 | 12 m3 | Diesel pump | Grundfos SP | 23 l/s | 54 | Hybrid solar-diesel | Perkins | 20 kVA | None | 15 kW | Fair | Sample assessment note (example data) | High salinity | Clear, odourless | 24 C | 8.5 | 15/11/2021 | ADO | Maintenance / rehabilitation (example) | 14/09/2024 | 15 ha | 32 ha

## ShallowWells
Source ID | water_source_type | source_name | inspecting_agency | inspection_date | region | district | nearest_settlement_name | distance_to_settlement | Funding agency | date_source_established | establishing_agency | digging_contractor | Latitude | Longitude | Attitude | permanent | sesonal | functioning | reason_for_non_functioning | Abandoned | Reason for abandoned | number_of_human_using_source | IDPs_using | number_of_camel_using_source | number_of_cattle_using_source | number_of_shoats_using_source | number_of_hectares_irrigated_using_source | source_protected | Sw_depth | Sw_operating_yield | Sw_operating_hrs_per_day | Sw_operating_draw_down | Sw_recovery_time | Sw_depth | reservoir_type | reservoir_capacity | pipeline_type | Rising Pipe_Type | Rising_Pipe_depth | pipeline_length | number_of_hh_connections | number_of_water_points_kiosks | number_of_animal_troughs | Number_of_Sanitation Structures | source_used_for_water_trucking | number_of_trucks_per_day | average_truck_capacity | pump_type | pump_model | pump_capacity | pump_level | source_of_power | generator_type | generator_capacity | solar_type | solar_capacity | supply_system_condition | supply_system_condition_description | physical_water_quality_issues | color_odor_description | temperature | ph | wsc_date_of_establishment | last_intervention_agency | last_intervention_description | last_intervention_date | Source_field Area
1 | Shallow Well | SW Ceel Afweyn 1 | CONCERN Worldwide | 25/11/2024 | Sool | Taleh | Xaraf | 2.6 km | CARE Somalia | 22/09/2008 | SWALIM | Al-Barakat Drilling | 11.3713 | 48.2783 | 558 | No | Yes | Yes |  | No |  | 5328 | 1390 | 437 | 1138 | 2030 | 12 | No | 19 | 4 m3/hr | 4 | 12 | 4 hrs | 19 | Concrete reservoir | 100 m3 | PVC | PVC | 73 | 3344 m | 76 | 4 | 6 | 2 | No | 7 | 8 m3 | Solar pump | Lorentz PS2 | 16 l/s | 34 | Grid | None | 50 kVA | None | 20 kW | Fair | Sample assessment note (example data) | High fluoride | Slightly turbid | 28 C | 6.9 | 21/02/2017 | World Vision | Maintenance / rehabilitation (example) | 03/09/2025 | 13 ha
2 | Shallow Well | SW Godka 2 | Save the Children | 12/09/2024 | Togdheer | Odweyne | Qoyta | 1.0 km | Havoyoco | 25/06/2019 | NRC | Daryeel Contractors | 10.4063 | 44.3276 | 498 | No | Yes | Yes |  | No |  | 332 | 534 | 566 | 1196 | 2372 | 106 | No | 6 | 1 m3/hr | 11 | 12 | 3 hrs | 6 | Ground masonry tank | 20 m3 | PVC | GI | 68 | 4667 m | 125 | 7 | 8 | 10 | No | 8 | 12 m3 | Diesel pump | India Mark II | 7 l/s | 110 | Diesel generator | Cummins | 50 kVA | Monocrystalline | 20 kW | Good | Sample assessment note (example data) | Bacterial contamination | Clear, odourless | 25 C | 8.4 | 22/01/2022 | UNICEF | Maintenance / rehabilitation (example) | 14/03/2025 | 15 ha
3 | Shallow Well | SW Xaraf 3 | CONCERN Worldwide | 17/05/2024 | Woqooyi Galbeed | Hargeysa | Godka | 6.4 km | Ministry of Water | 12/07/2012 | CONCERN Worldwide | Somaliland Water Co. | 10.7101 | 48.0872 | 1538 | Yes | No | Yes |  | No |  | 5523 | 64 | 95 | 830 | 1553 | 96 | No | 27 | 7 m3/hr | 8 | 1 | 6 hrs | 27 | Elevated steel tank | 200 m3 | HDPE | PVC | 41 | 677 m | 255 | 6 | 5 | 9 | Yes | 1 | 8 m3 | Hand pump | Pedrollo | 17 l/s | 89 | Solar | Perkins | 30 kVA | None | 20 kW | Good | Sample assessment note (example data) | High salinity | Salty taste | 24 C | 8.4 | 19/03/2022 | SWALIM | Maintenance / rehabilitation (example) | 03/05/2023 | 37 ha
4 | Shallow Well | SW Dararweyne 4 | CONCERN Worldwide | 10/04/2025 | Awdal | Zeila | Dararweyne | 0.8 km | CARE Somalia | 13/12/2017 | CARE Somalia | Horn Construction | 9.2664 | 43.0312 | 831 | No | Yes | Yes |  | No |  | 3843 | 737 | 779 | 552 | 418 | 33 | Yes | 27 | 8 m3/hr | 8 | 7 | 6 hrs | 27 | Ground masonry tank | 50 m3 | None | PVC | 91 | 4197 m | 208 | 1 | 0 | 1 | No | 2 | 10 m3 | Diesel pump | Grundfos SP | 11 l/s | 125 | Manual | Perkins | 20 kVA | None | 20 kW | Fair | Sample assessment note (example data) | High fluoride | Slightly turbid | 26 C | 7 | 09/08/2012 | Ministry of Water | Maintenance / rehabilitation (example) | 06/07/2024 | 27 ha
5 | Shallow Well | SW Agabar 5 | Havoyoco | 19/04/2024 | Togdheer | Burao | Dhabarmamac | 2.4 km | SWALIM | 12/02/2019 | CONCERN Worldwide | Barwaaqo Eng. | 10.7043 | 46.3006 | 1145 | No | Yes | No | No fuel | Yes | Better source nearby | 2586 | 1418 | 70 | 837 | 2756 | 127 | Yes | 32 | 2 m3/hr | 4 | 14 | 6 hrs | 32 | Plastic tank | 20 m3 | PVC | PVC | 39 | 3466 m | 193 | 1 | 7 | 9 | No | 12 | 12 m3 | Submersible | Afridev | 24 l/s | 41 | Solar | Cummins | 30 kVA | Monocrystalline | 20 kW | Good | Sample assessment note (example data) | Bacterial contamination | No issues | 29 C | 8.4 | 14/02/2010 | Ministry of Water | Maintenance / rehabilitation (example) | 09/04/2025 | 48 ha
6 | Shallow Well | SW Agabar 6 | Havoyoco | 11/02/2024 | Sanaag | Las Qoray | Beer | 6.5 km | Ministry of Water | 01/06/2015 | Ministry of Water | Guled Drilling | 10.29 | 46.3115 | 877 | No | Yes | Yes |  | No |  | 4786 | 873 | 473 | 474 | 3267 | 103 | Yes | 29 | 3 m3/hr | 11 | 7 | 4 hrs | 29 | Ground masonry tank | 200 m3 | None | HDPE | 23 | 1616 m | 230 | 9 | 6 | 6 | Yes | 6 | 8 m3 | Solar pump | Grundfos SP | 20 l/s | 46 | Grid | Cummins | 30 kVA | Polycrystalline | 5 kW | Needs repair | Sample assessment note (example data) | None | Salty taste | 34 C | 8.2 | 17/11/2015 | CONCERN Worldwide | Maintenance / rehabilitation (example) | 13/10/2024 | 38 ha
7 | Shallow Well | SW Aroori 7 | CARE Somalia | 16/05/2023 | Maroodi Jeex | Baligubadle | Ceel Bardaale | 2.7 km | Havoyoco | 20/01/2018 | World Vision | Somaliland Water Co. | 11.038 | 48.783 | 1235 | Yes | No | Yes |  | No |  | 5549 | 1013 | 418 | 1007 | 1702 | 113 | No | 9 | 6 m3/hr | 11 | 5 | 5 hrs | 9 | Ground masonry tank | 10 m3 | HDPE | GI | 57 | 267 m | 140 | 3 | 8 | 4 | Yes | 14 | 12 m3 | Submersible | Pedrollo | 5 l/s | 88 | Grid | Lister | 15 kVA | None | 15 kW | Fair | Sample assessment note (example data) | High fluoride | Clear, odourless | 34 C | 8 | 10/01/2017 | Save the Children | Maintenance / rehabilitation (example) | 12/02/2024 | 8 ha
8 | Shallow Well | SW Beer 8 | Save the Children | 28/11/2023 | Maroodi Jeex | Hargeysa | Agabar | 7.0 km | NRC | 05/12/2010 | NRC | Daryeel Contractors | 10.4436 | 44.6123 | 1048 | No | Yes | Yes |  | No |  | 3273 | 925 | 77 | 190 | 1650 | 131 | No | 22 | 2 m3/hr | 8 | 11 | 6 hrs | 22 | Plastic tank | 50 m3 | None | HDPE | 94 | 20 m | 396 | 11 | 1 | 7 | No | 2 | 12 m3 | Hand pump | India Mark II | 8 l/s | 146 | Hybrid solar-diesel | Lister | 30 kVA | Polycrystalline | 20 kW | Fair | Sample assessment note (example data) | Bacterial contamination | No issues | 29 C | 8.3 | 25/01/2010 | Ministry of Water | Maintenance / rehabilitation (example) | 21/08/2023 | 8 ha
9 | Shallow Well | SW Xaraf 9 | Havoyoco | 03/03/2025 | Maroodi Jeex | Hargeysa | Xaraf | 4.3 km | Havoyoco | 01/01/2016 | World Vision | Guled Drilling | 10.1943 | 44.3737 | 382 | Yes | No | Yes |  | No |  | 1039 | 211 | 320 | 752 | 3608 | 76 | Yes | 37 | 7 m3/hr | 4 | 4 | 4 hrs | 37 | Concrete reservoir | 20 m3 | GI | GI | 87 | 4614 m | 4 | 9 | 2 | 7 | No | 6 | 8 m3 | Diesel pump | Pedrollo | 23 l/s | 133 | Diesel generator | Perkins | 15 kVA | Monocrystalline | 3 kW | Needs repair | Sample assessment note (example data) | Turbidity | No issues | 29 C | 8.1 | 08/05/2020 | Ministry of Water | Maintenance / rehabilitation (example) | 08/09/2025 | 39 ha
10 | Shallow Well | SW Qoyta 10 | Ministry of Water | 01/10/2023 | Sanaag | Badhan | Beer | 2.2 km | UNICEF | 02/07/2013 | Save the Children | Barwaaqo Eng. | 10.0589 | 45.4137 | 1511 | Yes | No | Yes |  | No |  | 4595 | 1101 | 630 | 312 | 1136 | 21 | No | 38 | 6 m3/hr | 3 | 8 | 5 hrs | 38 | Elevated steel tank | 100 m3 | GI | GI | 88 | 2676 m | 200 | 9 | 1 | 4 | No | 7 | 5 m3 | Hand pump | Grundfos SP | 15 l/s | 49 | Manual | Perkins | 30 kVA | None | 5 kW | Good | Sample assessment note (example data) | None | Slightly turbid | 24 C | 6.8 | 12/09/2018 | Save the Children | Maintenance / rehabilitation (example) | 06/06/2023 | 48 ha
11 | Shallow Well | SW Beer 11 | UNICEF | 08/01/2024 | Maroodi Jeex | Baligubadle | Ina Guuxaa | 3.2 km | CARE Somalia | 06/01/2013 | SWALIM | Somaliland Water Co. | 11.2896 | 44.9196 | 359 | Yes | No | Yes |  | No |  | 4882 | 763 | 122 | 1028 | 2757 | 13 | Yes | 20 | 7 m3/hr | 8 | 8 | 6 hrs | 20 | Ground masonry tank | 100 m3 | HDPE | HDPE | 28 | 3810 m | 144 | 12 | 4 | 5 | Yes | 14 | 5 m3 | Solar pump | Lorentz PS2 | 11 l/s | 97 | Grid | Cummins | 50 kVA | Polycrystalline | 20 kW | Needs repair | Sample assessment note (example data) | High salinity | Slightly turbid | 26 C | 6.5 | 14/01/2013 | ADO | Maintenance / rehabilitation (example) | 12/11/2025 | 1 ha
12 | Shallow Well | SW Xaraf 12 | Save the Children | 09/06/2024 | Sool | Xudun | Agabar | 6.7 km | World Vision | 11/08/2009 | NRC | Somaliland Water Co. | 9.2724 | 43.6339 | 1120 | Yes | No | Yes |  | No |  | 4017 | 643 | 416 | 247 | 2195 | 91 | Yes | 34 | 3 m3/hr | 4 | 15 | 3 hrs | 34 | Concrete reservoir | 30 m3 | None | HDPE | 35 | 740 m | 80 | 12 | 4 | 9 | Yes | 6 | 10 m3 | Hand pump | Grundfos SP | 24 l/s | 83 | Hybrid solar-diesel | None | 15 kVA | None | 10 kW | Poor | Sample assessment note (example data) | High salinity | Clear, odourless | 30 C | 8.2 | 18/12/2018 | NRC | Maintenance / rehabilitation (example) | 04/08/2023 | 9 ha
13 | Shallow Well | SW Ceel Bardaale 13 | World Vision | 07/03/2024 | Sanaag | Erigavo | Godka | 3.7 km | CARE Somalia | 02/10/2014 | CONCERN Worldwide | Horn Construction | 10.03 | 46.3041 | 324 | No | Yes | Yes |  | No |  | 918 | 572 | 392 | 281 | 1717 | 51 | Yes | 18 | 8 m3/hr | 11 | 5 | 2 hrs | 18 | Elevated steel tank | 50 m3 | PVC | HDPE | 89 | 3970 m | 176 | 9 | 8 | 5 | No | 8 | 8 m3 | Submersible | Afridev | 21 l/s | 76 | Solar | Lister | 15 kVA | Polycrystalline | 20 kW | Poor | Sample assessment note (example data) | Bacterial contamination | Slightly turbid | 26 C | 6.7 | 22/04/2014 | ADO | Maintenance / rehabilitation (example) | 27/12/2023 | 49 ha
14 | Shallow Well | SW Ceel Bardaale 14 | World Vision | 23/03/2024 | Sool | Taleh | Beer | 0.4 km | CONCERN Worldwide | 23/03/2017 | Ministry of Water | Al-Barakat Drilling | 10.7614 | 46.9728 | 1400 | Yes | No | Yes |  | No |  | 1027 | 689 | 309 | 660 | 558 | 40 | No | 9 | 7 m3/hr | 10 | 12 | 4 hrs | 9 | Concrete reservoir | 200 m3 | PVC | GI | 110 | 4603 m | 355 | 9 | 5 | 3 | Yes | 12 | 10 m3 | Solar pump | Lorentz PS2 | 7 l/s | 20 | Grid | None | 15 kVA | Monocrystalline | 20 kW | Poor | Sample assessment note (example data) | Bacterial contamination | Slightly turbid | 34 C | 7.6 | 16/03/2015 | Ministry of Water | Maintenance / rehabilitation (example) | 08/06/2024 | 11 ha
15 | Shallow Well | SW Ceel Bardaale 15 | Havoyoco | 03/01/2024 | Sanaag | Badhan | Beer | 2.7 km | Ministry of Water | 03/06/2007 | SWALIM | Al-Barakat Drilling | 11.3546 | 48.8683 | 892 | Yes | No | Yes |  | No |  | 5066 | 1256 | 494 | 63 | 1766 | 42 | No | 30 | 6 m3/hr | 5 | 8 | 1 hrs | 30 | Ground masonry tank | 10 m3 | HDPE | HDPE | 46 | 1556 m | 209 | 11 | 8 | 8 | No | 9 | 10 m3 | Hand pump | Grundfos SP | 3 l/s | 120 | Grid | None | 20 kVA | Monocrystalline | 10 kW | Good | Sample assessment note (example data) | High fluoride | Clear, odourless | 28 C | 8.1 | 21/10/2017 | NRC | Maintenance / rehabilitation (example) | 04/01/2023 | 11 ha

## Spring Protection.
Source ID | water_source_type | source_name | inspecting_agency | inspection_date | region | district | nearest_settlement_name | distance_to_settlement | Funding agency | date_source_established | establishing_agency | constructed_contractor | Latitude | Longitude | Attitude | permanent | sesonal | functioning | reason_for_non_functioning | Abandoned | Reason for abandoned | number_of_human_using_source | IDPs_using | number_of_camel_using_source | number_of_cattle_using_source | number_of_shoats_using_source | number_of_hectares_irrigated_using_source | source_protected | Sp_depth | Sp_operating_yield | Sp_operating_hrs_per_day | Sp_operating_draw_down | Sp_recovery_time | Sp_depth | Sp_width | Sp_Lenght | reservoir_type | reservoir_capacity | pipeline_type | Rising Pipe_Type | Rising_Pipe_depth | pipeline_length | number_of_hh_connections | number_of_water_points_kiosks | number_of_animal_troughs | Number_of_Sanitation Structures | source_used_for_water_trucking | number_of_trucks_per_day | average_truck_capacity | pump_type | pump_model | pump_capacity | pump_level | source_of_power | generator_type | generator_capacity | solar_type | solar_capacity | supply_system_condition | supply_system_condition_description | physical_water_quality_issues | color_odor_description | temperature | ph | wsc_date_of_establishment | last_intervention_agency | last_intervention_description | last_intervention_date | Source_field Area
1 | Spring | Spring Dararweyne 1 | World Vision | 26/09/2024 | Woqooyi Galbeed | Hargeysa | Ceel Afweyn | 2.0 km | UNICEF | 27/07/2018 | ADO | Daryeel Contractors | 10.4318 | 44.4138 | 812 | Yes | No | Yes |  | No |  | 846 | 808 | 731 | 71 | 2056 | 146 | Yes | 7 | 1 l/s | 24 | 0 | Continuous | 7 | 4 m | 6 m | Elevated steel tank | 50 m3 | GI | GI | 47 | 1578 m | 64 | 0 | 6 | 1 | No | 6 | 8 m3 | Solar pump | Afridev | 25 l/s | 37 | Solar | None | 50 kVA | None | 10 kW | Poor | Sample assessment note (example data) | Bacterial contamination | No issues | 24 C | 8.1 | 20/10/2018 | SWALIM | Maintenance / rehabilitation (example) | 04/07/2023 | 10 ha
2 | Spring | Spring Ina Guuxaa 2 | Save the Children | 10/05/2024 | Maroodi Jeex | Salahley | Agabar | 5.5 km | NRC | 05/05/2016 | Havoyoco | Daryeel Contractors | 10.5124 | 43.5357 | 1104 | Yes | No | No | No fuel | Yes | Better source nearby | 4168 | 1057 | 382 | 115 | 2110 | 40 | Yes | 1 | 8 l/s | 24 | 0 | Continuous | 1 | 2 m | 3 m | Plastic tank | 200 m3 | None | GI | 119 | 4294 m | 291 | 0 | 2 | 3 | Yes | 1 | 8 m3 | Submersible | India Mark II | 3 l/s | 112 | Diesel generator | Lister | 30 kVA | Polycrystalline | 20 kW | Needs repair | Sample assessment note (example data) | None | Clear, odourless | 27 C | 7.2 | 20/08/2012 | Havoyoco | Maintenance / rehabilitation (example) | 19/09/2024 | 23 ha
3 | Spring | Spring Dhabarmamac 3 | SWALIM | 28/06/2024 | Togdheer | Buhoodle | Godka | 1.9 km | Save the Children | 22/09/2018 | CONCERN Worldwide | Al-Barakat Drilling | 10.2788 | 46.9741 | 966 | No | Yes | No | Vandalism | No |  | 5503 | 1216 | 623 | 578 | 1222 | 27 | No | 5 | 7 l/s | 24 | 0 | Continuous | 5 | 3 m | 6 m | Elevated steel tank | 30 m3 | PVC | PVC | 61 | 2268 m | 133 | 10 | 4 | 3 | Yes | 7 | 5 m3 | Diesel pump | Afridev | 23 l/s | 55 | Solar | None | 30 kVA | Polycrystalline | 15 kW | Needs repair | Sample assessment note (example data) | High fluoride | Clear, odourless | 33 C | 7.9 | 19/04/2015 | NRC | Maintenance / rehabilitation (example) | 22/09/2025 | 31 ha
4 | Spring | Spring Qoyta 4 | NRC | 17/02/2025 | Woqooyi Galbeed | Berbera | Dhabarmamac | 4.3 km | SWALIM | 02/03/2007 | NRC | Daryeel Contractors | 9.3581 | 48.1744 | 569 | Yes | No | Yes |  | No |  | 862 | 998 | 340 | 362 | 1283 | 14 | Yes | 1 | 4 l/s | 24 | 0 | Continuous | 1 | 2 m | 3 m | Concrete reservoir | 30 m3 | GI | GI | 93 | 1297 m | 250 | 12 | 1 | 2 | No | 13 | 12 m3 | Diesel pump | India Mark II | 14 l/s | 21 | Solar | Cummins | 30 kVA | Monocrystalline | 10 kW | Fair | Sample assessment note (example data) | None | Clear, odourless | 34 C | 8 | 08/12/2015 | Save the Children | Maintenance / rehabilitation (example) | 05/02/2024 | 33 ha
5 | Spring | Spring Dhabarmamac 5 | Save the Children | 25/09/2025 | Sool | Las Anod | Beer | 4.8 km | UNICEF | 22/02/2015 | UNICEF | Daryeel Contractors | 10.1108 | 43.7416 | 717 | Yes | No | Yes |  | No |  | 4086 | 1437 | 156 | 420 | 2847 | 2 | No | 1 | 5 l/s | 24 | 0 | Continuous | 1 | 3 m | 6 m | Concrete reservoir | 200 m3 | HDPE | PVC | 86 | 2211 m | 318 | 9 | 2 | 6 | Yes | 3 | 10 m3 | Submersible | Grundfos SP | 17 l/s | 70 | Grid | Cummins | 30 kVA | None | 5 kW | Poor | Sample assessment note (example data) | High fluoride | Salty taste | 26 C | 6.6 | 16/04/2021 | Havoyoco | Maintenance / rehabilitation (example) | 11/04/2023 | 1 ha
6 | Spring | Spring Ina Guuxaa 6 | World Vision | 15/10/2024 | Woqooyi Galbeed | Hargeysa | Agabar | 0.9 km | World Vision | 06/02/2011 | SWALIM | Guled Drilling | 11.1267 | 47.7994 | 1528 | Yes | No | No | No fuel | No |  | 1126 | 271 | 712 | 120 | 3860 | 40 | Yes | 5 | 1 l/s | 24 | 0 | Continuous | 5 | 5 m | 4 m | Concrete reservoir | 100 m3 | None | PVC | 106 | 3589 m | 92 | 9 | 6 | 5 | Yes | 4 | 12 m3 | Diesel pump | Grundfos SP | 15 l/s | 132 | Solar | Perkins | 30 kVA | None | 10 kW | Good | Sample assessment note (example data) | Bacterial contamination | Slightly turbid | 34 C | 8.2 | 17/09/2021 | CONCERN Worldwide | Maintenance / rehabilitation (example) | 04/07/2025 | 47 ha
7 | Spring | Spring Dararweyne 7 | Havoyoco | 15/06/2023 | Awdal | Borama | Qoyta | 6.0 km | UNICEF | 04/07/2011 | UNICEF | Al-Barakat Drilling | 10.9795 | 48.779 | 1505 | No | Yes | Yes |  | No |  | 2695 | 1041 | 575 | 423 | 2681 | 116 | No | 9 | 7 l/s | 24 | 0 | Continuous | 9 | 5 m | 8 m | Plastic tank | 10 m3 | GI | HDPE | 62 | 4588 m | 392 | 9 | 7 | 10 | No | 14 | 5 m3 | Submersible | Lorentz PS2 | 2 l/s | 107 | Hybrid solar-diesel | Lister | 30 kVA | None | 3 kW | Good | Sample assessment note (example data) | High salinity | No issues | 26 C | 8.1 | 24/12/2016 | Ministry of Water | Maintenance / rehabilitation (example) | 09/10/2023 | 13 ha
8 | Spring | Spring Aroori 8 | SWALIM | 14/10/2025 | Awdal | Zeila | Xaraf | 2.3 km | World Vision | 10/08/2017 | CARE Somalia | Guled Drilling | 11.2161 | 46.0738 | 1321 | No | Yes | No | Dry well | No |  | 4734 | 1295 | 222 | 411 | 858 | 74 | No | 5 | 4 l/s | 24 | 0 | Continuous | 5 | 5 m | 8 m | Ground masonry tank | 200 m3 | GI | PVC | 89 | 2640 m | 363 | 1 | 5 | 8 | No | 13 | 10 m3 | Diesel pump | Grundfos SP | 18 l/s | 47 | Solar | None | 20 kVA | Monocrystalline | 3 kW | Fair | Sample assessment note (example data) | Turbidity | Slightly turbid | 28 C | 7.9 | 05/01/2021 | Save the Children | Maintenance / rehabilitation (example) | 07/09/2023 | 23 ha
9 | Spring | Spring Godka 9 | Havoyoco | 06/11/2023 | Sool | Xudun | Ceel Bardaale | 7.7 km | ADO | 04/07/2005 | SWALIM | Somaliland Water Co. | 9.4023 | 48.0761 | 211 | Yes | No | Yes |  | No |  | 2907 | 955 | 726 | 317 | 163 | 39 | No | 4 | 6 l/s | 24 | 0 | Continuous | 4 | 5 m | 2 m | Elevated steel tank | 200 m3 | PVC | HDPE | 93 | 4506 m | 183 | 1 | 5 | 8 | Yes | 5 | 5 m3 | Hand pump | India Mark II | 19 l/s | 123 | Solar | Lister | 20 kVA | Monocrystalline | 10 kW | Poor | Sample assessment note (example data) | Turbidity | Salty taste | 27 C | 8.4 | 20/09/2017 | ADO | Maintenance / rehabilitation (example) | 27/11/2023 | 8 ha
10 | Spring | Spring Kalabaydh 10 | NRC | 28/11/2024 | Sool | Las Anod | Dararweyne | 1.8 km | SWALIM | 21/02/2016 | CARE Somalia | Horn Construction | 9.0947 | 43.4395 | 564 | Yes | No | Yes |  | No |  | 2263 | 1142 | 72 | 1177 | 3365 | 58 | No | 6 | 4 l/s | 24 | 0 | Continuous | 6 | 4 m | 9 m | Concrete reservoir | 50 m3 | None | PVC | 71 | 3547 m | 161 | 0 | 6 | 10 | Yes | 0 | 5 m3 | Submersible | Grundfos SP | 13 l/s | 148 | Solar | Lister | 30 kVA | None | 3 kW | Poor | Sample assessment note (example data) | High fluoride | No issues | 30 C | 8.1 | 01/08/2012 | ADO | Maintenance / rehabilitation (example) | 08/03/2025 | 26 ha

## Barkeds
Source ID | water_source_type | source_name | inspecting_agency | inspection_date | region | district | nearest_settlement_name | distance_to_settlement | Funding agency | date_source_established | establishing_agency | Constructed_contractor | Latitude | Longitude | Attitude | permanent | sesonal | functioning | reason_for_non_functioning | Abandoned | Reason for abandoned | number_of_human_using_source | IDPs_using | number_of_camel_using_source | number_of_cattle_using_source | number_of_shoats_using_source | source_protected | Bar_wedth | Bar_Lenght | Bar_Depth | reservoir_type | reservoir_capacity | pipeline_type | pipeline_length | number_of_water_points_kiosks | number_of_animal_troughs | pump_type | pump_model | pump_capacity | pump_level | source_of_power | generator_type | generator_capacity | solar_type | solar_capacity | supply_system_condition | supply_system_condition_description | physical_water_quality_issues | color_odor_description | temperature | ph | wsc_date_of_establishment | last_intervention_agency | last_intervention_description | last_intervention_date | Source_field Area | Dam_Catchment Area
1 | Berkad | Berkad Kalabaydh 1 | CONCERN Worldwide | 28/01/2025 | Awdal | Zeila | Qoyta | 5.2 km | Ministry of Water | 10/11/2006 | Save the Children | Somaliland Water Co. | 10.218 | 44.9851 | 462 | Yes | No | No | No fuel | No |  | 1019 | 583 | 634 | 142 | 3686 | No | 9 m | 37 m | 6 m | Concrete reservoir | 50 m3 | PVC | 2504 m | 9 | 2 | Hand pump | Grundfos SP | 12 l/s | 83 | Diesel generator | None | 30 kVA | Polycrystalline | 5 kW | Poor | Sample assessment note (example data) | High fluoride | No issues | 31 C | 7.2 | 10/08/2018 | Ministry of Water | Maintenance / rehabilitation (example) | 06/11/2025 | 6 ha | 108 ha
2 | Berkad | Berkad Kalabaydh 2 | NRC | 28/10/2025 | Sool | Las Anod | Ceel Bardaale | 6.1 km | CARE Somalia | 15/03/2007 | CONCERN Worldwide | Guled Drilling | 10.83 | 48.635 | 282 | Yes | No | Yes |  | No |  | 1992 | 998 | 237 | 128 | 1082 | Yes | 5 m | 23 m | 2 m | Elevated steel tank | 200 m3 | GI | 3179 m | 7 | 0 | Solar pump | Pedrollo | 19 l/s | 64 | Manual | None | 30 kVA | None | 3 kW | Poor | Sample assessment note (example data) | High fluoride | Slightly turbid | 32 C | 7.3 | 27/06/2017 | Havoyoco | Maintenance / rehabilitation (example) | 20/01/2025 | 9 ha | 57 ha
3 | Berkad | Berkad Kalabaydh 3 | ADO | 02/10/2023 | Awdal | Zeila | Beer | 1.5 km | CARE Somalia | 17/07/2014 | CONCERN Worldwide | Al-Barakat Drilling | 10.6544 | 44.7007 | 375 | Yes | No | Yes |  | No |  | 1974 | 919 | 621 | 965 | 3552 | Yes | 18 m | 24 m | 3 m | Ground masonry tank | 50 m3 | GI | 1489 m | 10 | 8 | Submersible | Lorentz PS2 | 14 l/s | 118 | Diesel generator | Perkins | 15 kVA | Monocrystalline | 20 kW | Needs repair | Sample assessment note (example data) | High salinity | Clear, odourless | 26 C | 7.5 | 20/10/2010 | ADO | Maintenance / rehabilitation (example) | 17/02/2023 | 31 ha | 85 ha
4 | Berkad | Berkad Ceel Afweyn 4 | ADO | 04/09/2023 | Woqooyi Galbeed | Gabiley | Dhabarmamac | 5.3 km | World Vision | 14/06/2006 | CARE Somalia | Guled Drilling | 9.6533 | 46.2166 | 1356 | Yes | No | Yes |  | No |  | 3195 | 1253 | 282 | 813 | 3092 | No | 24 m | 18 m | 2 m | Concrete reservoir | 20 m3 | PVC | 3962 m | 4 | 5 | Diesel pump | Lorentz PS2 | 5 l/s | 74 | Grid | None | 30 kVA | None | 20 kW | Good | Sample assessment note (example data) | High salinity | No issues | 34 C | 6.5 | 03/03/2017 | CONCERN Worldwide | Maintenance / rehabilitation (example) | 14/02/2023 | 17 ha | 29 ha
5 | Berkad | Berkad Dararweyne 5 | Save the Children | 25/07/2024 | Togdheer | Burao | Kalabaydh | 3.3 km | CONCERN Worldwide | 07/09/2005 | Ministry of Water | Barwaaqo Eng. | 11.0744 | 48.49 | 912 | Yes | No | Yes |  | No |  | 3046 | 566 | 231 | 398 | 1862 | Yes | 12 m | 23 m | 4 m | Plastic tank | 20 m3 | None | 4576 m | 8 | 4 | Diesel pump | India Mark II | 20 l/s | 143 | Diesel generator | Lister | 50 kVA | None | 15 kW | Good | Sample assessment note (example data) | High fluoride | Clear, odourless | 28 C | 6.6 | 21/04/2020 | NRC | Maintenance / rehabilitation (example) | 26/06/2024 | 23 ha | 67 ha
6 | Berkad | Berkad Ceel Afweyn 6 | World Vision | 05/02/2023 | Awdal | Borama | Dararweyne | 5.5 km | Havoyoco | 20/01/2017 | ADO | Daryeel Contractors | 9.7885 | 48.3887 | 1376 | Yes | No | Yes |  | No |  | 2450 | 1005 | 187 | 1046 | 1147 | Yes | 20 m | 8 m | 3 m | Ground masonry tank | 10 m3 | None | 266 m | 5 | 6 | Diesel pump | Afridev | 24 l/s | 22 | Solar | Cummins | 50 kVA | None | 3 kW | Poor | Sample assessment note (example data) | Turbidity | Salty taste | 26 C | 7.6 | 08/05/2017 | CONCERN Worldwide | Maintenance / rehabilitation (example) | 11/06/2023 | 32 ha | 55 ha
7 | Berkad | Berkad Qoyta 7 | Save the Children | 09/09/2025 | Sanaag | Las Qoray | Beer | 3.3 km | CARE Somalia | 02/04/2018 | Save the Children | Guled Drilling | 10.8615 | 44.5586 | 937 | No | Yes | Yes |  | No |  | 4790 | 1141 | 263 | 704 | 81 | Yes | 22 m | 11 m | 2 m | Plastic tank | 200 m3 | GI | 4410 m | 12 | 4 | Submersible | India Mark II | 21 l/s | 93 | Manual | Cummins | 20 kVA | None | 10 kW | Needs repair | Sample assessment note (example data) | Bacterial contamination | No issues | 25 C | 6.7 | 11/04/2015 | World Vision | Maintenance / rehabilitation (example) | 21/05/2025 | 18 ha | 78 ha
8 | Berkad | Berkad Dararweyne 8 | Save the Children | 20/03/2023 | Sanaag | Badhan | Kalabaydh | 7.5 km | SWALIM | 10/04/2008 | Save the Children | Guled Drilling | 10.3169 | 44.0237 | 271 | Yes | No | Yes |  | No |  | 5635 | 730 | 333 | 975 | 1913 | No | 14 m | 25 m | 5 m | Concrete reservoir | 20 m3 | GI | 3740 m | 11 | 6 | Hand pump | Grundfos SP | 16 l/s | 98 | Hybrid solar-diesel | None | 30 kVA | Monocrystalline | 10 kW | Good | Sample assessment note (example data) | None | Slightly turbid | 29 C | 7.1 | 18/01/2021 | Havoyoco | Maintenance / rehabilitation (example) | 25/08/2024 | 1 ha | 99 ha
9 | Berkad | Berkad Dararweyne 9 | Havoyoco | 20/08/2024 | Awdal | Borama | Agabar | 5.1 km | NRC | 11/01/2007 | UNICEF | Al-Barakat Drilling | 9.7053 | 43.7502 | 1097 | No | Yes | Yes |  | No |  | 267 | 476 | 92 | 308 | 60 | Yes | 23 m | 15 m | 5 m | Plastic tank | 50 m3 | PVC | 3798 m | 12 | 0 | Solar pump | India Mark II | 4 l/s | 140 | Diesel generator | Cummins | 30 kVA | Polycrystalline | 3 kW | Good | Sample assessment note (example data) | High salinity | No issues | 31 C | 7 | 02/04/2017 | Ministry of Water | Maintenance / rehabilitation (example) | 17/11/2023 | 31 ha | 50 ha
10 | Berkad | Berkad Agabar 10 | CONCERN Worldwide | 05/06/2023 | Awdal | Borama | Xaraf | 1.4 km | Ministry of Water | 22/10/2010 | UNICEF | Horn Construction | 10.7533 | 47.7488 | 457 | No | Yes | No | Damaged pipeline | No |  | 2106 | 648 | 571 | 711 | 3299 | Yes | 9 m | 19 m | 2 m | Elevated steel tank | 200 m3 | None | 1103 m | 0 | 7 | Hand pump | Pedrollo | 13 l/s | 102 | Manual | Lister | 20 kVA | Monocrystalline | 20 kW | Fair | Sample assessment note (example data) | High fluoride | Salty taste | 28 C | 7.6 | 15/01/2022 | ADO | Maintenance / rehabilitation (example) | 13/12/2023 | 2 ha | 80 ha
11 | Berkad | Berkad Beer 11 | CONCERN Worldwide | 21/07/2025 | Awdal | Borama | Qoyta | 4.3 km | CONCERN Worldwide | 09/01/2010 | NRC | Guled Drilling | 11.3255 | 44.2524 | 1206 | Yes | No | Yes |  | No |  | 855 | 958 | 654 | 124 | 1478 | No | 17 m | 8 m | 2 m | Plastic tank | 200 m3 | HDPE | 4333 m | 11 | 1 | Submersible | Lorentz PS2 | 19 l/s | 118 | Diesel generator | Cummins | 20 kVA | None | 5 kW | Needs repair | Sample assessment note (example data) | None | Salty taste | 34 C | 7.4 | 22/07/2011 | CARE Somalia | Maintenance / rehabilitation (example) | 26/03/2025 | 26 ha | 65 ha
12 | Berkad | Berkad Godka 12 | UNICEF | 10/04/2023 | Togdheer | Buhoodle | Ina Guuxaa | 0.4 km | Save the Children | 18/09/2013 | CONCERN Worldwide | Somaliland Water Co. | 10.1509 | 43.9366 | 742 | Yes | No | Yes |  | No |  | 3207 | 1192 | 255 | 477 | 1049 | Yes | 17 m | 40 m | 5 m | Concrete reservoir | 100 m3 | GI | 2659 m | 2 | 7 | Diesel pump | Grundfos SP | 3 l/s | 105 | Hybrid solar-diesel | None | 50 kVA | Monocrystalline | 5 kW | Good | Sample assessment note (example data) | High fluoride | Clear, odourless | 28 C | 7.5 | 11/09/2019 | CARE Somalia | Maintenance / rehabilitation (example) | 11/09/2025 | 15 ha | 20 ha